## Basic Info
[17 empty] | 2.4/4kv | * | * | 6.9/7.2/12kv | * | *
LOAD STUDY/FUSING REQUEST/DISTRIBUTION PLANNING WORKSHEET INPUT | [17 empty] | AB1 | Al Bahr 1 |  | 100 | Old Town
[18 empty] | AD1 | Adams |  | 1001 | Rancho Santa Fe
|  |  | = Drop Downs |  |  | = Fill-Ins |  |  |  | STA Size | #REF! | N/A | #REF! |  |  |  |  | AD2 | Adams |  | 1006 | Proctor Valley
[18 empty] | AD3 | Adams |  | 1010 | Escondido
[10 empty] | N/A | 2 | [6 empty] | AG1 | Agua Lagoon |  | 102 | Station B
| Mr. Steve Jones |  |  | 1440 4th Avenue |  |  |  |  | 2.4 | 100amp | 3 | [6 empty] | ALV1 | Alta Vista |  | 1025 | Bernardo
[9 empty] | 4 | 200amp | 4 | [6 empty] | AM1 | Amherst |  | 103 | Old Town
JOB # |  | Supersedes |  |  |  | "G" Street |  |  | 6.9 | 400amp | N/A |  |  |  | Yes |  |  | AM2 | Amherst |  | 1030 | Valley Center
[9 empty] | 7.2 | 600amp | 1 |  |  |  | No |  |  | AM3 | Amherst |  | 1039 | Ash
In Srvc Date |  | Square Ftg. Lots/Units | [6 empty] | 12 | 800amp | 3 |  |  |  | N/A |  |  | AZ1 | Azure |  | 104 | Station B
| 111111-020 | [8 empty] | 1000amp | N/A | [6 empty] | BA2 | Bostonia |  | 1048 | Chollas West
DFIS Map |  | Number Lots/Units | [7 empty] | 1200amp | 1 | Commercial | [5 empty] | BA3 | Bostonia |  | 105 | Old Town
[10 empty] | 1600amp | 2 | Residential | [5 empty] | BDC1 | Boca Del Canon |  | 106 | Station B
Station # |  | Circuit Number |  |  | Take-off Structure # |  |  |  |  | 1800amp |  | N/A | [5 empty] | BF1 | Brown Field |  | 107 | Old Town
[10 empty] | 2000amp | [7 empty] | BH1 | Birch |  | 1070 | Laguna Niguel
Primary kV | 12 | Serving Voltage | N/A |  | # of Phases | N/A | # of Wires | 4 |  | 2500amp | [7 empty] | BK1 | Bird Rock |  | 1071 | Laguna Niguel
[10 empty] | 3000amp | [7 empty] | BK2 | Bird Rock |  | 1072 | Laguna Niguel
Shell Building | N/A | Panel Size | N/A |  | Type of Project: |  | N/A |  |  | 4000amp | [7 empty] | BK4 | Bird Rock |  | 1076 | Oceanside
[9 empty] | N/A | Pri. Meter | N/A |  |  | REF CELL |  | 3 |  | BN1 | Buena |  | 1077 | Oceanside
[9 empty] | 15 kVA |  | 120/240 |  |  | 1 | Eastern |  |  | BN2 | Buena |  | 1078 | Oceanside
|  |  | Eastern | [5 empty] | 25 kVA |  | 120/208 |  |  | 2 | Beach Cities |  |  | BO1 | Burton |  | 108 | Station B
[9 empty] | 45 kVA |  | 277/480 |  |  | 3 | North Coast |  |  | BP1 | Bahia Point |  | 1081 | Del Mar
[9 empty] | 50 kVA |  | 480 |  |  | 4 | North East |  |  | BRM1 | Bramson |  | 1082 | Del Mar
[9 empty] | 75 kVA |  | 4 kV |  |  | 5 | Orange County |  |  | BS1 | Balboa Stadium |  | 1085 | Rose Canyon
[9 empty] | 100 kVA |  | 12 kV |  |  | 6 | Metro |  |  | BT1 | Bancroft |  | 109 | Station B
[9 empty] | 150 kVA | [8 empty] | BW1 | Broadway |  | 11 | Line School
[9 empty] | 167 kVA |  |  |  |  | * | * |  |  | BY1 | Bradley |  | 110 | Station B
[9 empty] | 225kVA |  |  |  |  | 2.4 | #N/A |  |  | BY2 | Bradley |  | 1100 | Artesian
[9 empty] | 300kVA |  |  |  |  | 4 | #N/A |  |  | BY3 | Bradley |  | 1101 | Artesian
[9 empty] | 500kVA |  |  | #N/A |  | 6.9 | #N/A |  |  | C14 | Station C 14 |  | 1102 | Artesian
[9 empty] | 750kVA |  |  |  |  | 7.2 | #N/A |  |  | C17 | Station C 17 |  | 1103 | Artesian
[9 empty] | 1000kVA |  |  |  |  | 12 | #N/A |  |  | CA1 | Cardiff 1 |  | 111 | Station B
[9 empty] | 1500kVA |  |  | Commercial |  | * | * |  |  | CA2 | Cardiff 2 |  | 1116 | Batiquitos
[9 empty] | 2000kVA | [8 empty] | CCB1 | Country Club |  | 1117 | Batiquitos
[9 empty] | 2500kVA | [8 empty] | CD1 | Carlsbad |  | 1118 | Batiquitos
[9 empty] | 3000kVA | [8 empty] | CD3 | Carlsbad |  | 1119 | Batiquitos
[18 empty] | CE1 | Central |  | 112 | Station B
[18 empty] | CE2 | Central |  | 113 | Station B
[18 empty] | CE3 | Central |  | 114 | Rose Canyon
[18 empty] | CG1 | Calavo Gardens |  | 115 | Station B
[18 empty] | CG2 | Calavo Gardens |  | 1152 | Eastgate
[18 empty] | CHA1 | Challenge |  | 1153 | Eastgate
[18 empty] | CMP1 | Campo Road |  | 116 | Rose Canyon
[18 empty] | CPA | Camp Pendleton A |  | 1160 | Border
[18 empty] | CPG | Camp Pendleton G |  | 1166 | Loveland
[18 empty] | CS1 | Chollas 1 |  | 117 | Station B
[18 empty] | CS2 | Chollas 2 |  | 1173 | La Jolla
[18 empty] | CS3 | Chollas 3 |  | 1174 | La Jolla
[18 empty] | CS4 | Chollas 4 |  | 118 | Station B
[18 empty] | CSS1 | Cass |  | 119 | Station B
[18 empty] | CTL1 | Crestline |  | 120 | Rose Canyon
[18 empty] | CV1 | Chula Vista |  | 1201 | San Ysidro
[18 empty] | CY1 | Cypress Shores |  | 121 | Station B
[18 empty] | DB00 | Doublett |  | 1215 | Crestwood
[18 empty] | DB30 | Doublett |  | 122 | Sampson
[18 empty] | DEA1 | De Anza |  | 1221 | Telegraph Canyon
[18 empty] | DH1 | Dunhill |  | 1222 | Telegraph Canyon
[18 empty] | DM1 | Del Mar 1 |  | 1223 | Telegraph Canyon
[18 empty] | DM2 | Del Mar 2 |  | 1224 | Telegraph Canyon
[18 empty] | DR1 | Del Rio |  | 123 | Sampson
[18 empty] | DS1 | Davis |  | 1233 | Pala
[18 empty] | DT1 | Downtown1 |  | 1235 | Monserate
[18 empty] | DV1 | Dehesa Valley |  | 124 | Old Town
[18 empty] | EH1 | El Camino Hills |  | 125 | Station B
[18 empty] | ELE1 | Electric Avenue |  | 1250 | Olivenhain
[18 empty] | ELS1 | El Secreto |  | 1251 | Olivenhain
[18 empty] | EN1 | Encinitas |  | 1252 | Olivenhain
[18 empty] | EN2 | Encinitas |  | 1253 | Olivenhain
[18 empty] | EO1 | Encanto |  | 1256 | Margarita
[18 empty] | EO2 | Encanto |  | 1257 | Margarita
[18 empty] | EO3 | Encanto |  | 1258 | Margarita
[18 empty] | EOS1 | East Oceanside |  | 126 | Station B
[18 empty] | EOS2 | East Oceanside |  | 1269 | Palomar Airport
[18 empty] | EOS3 | East Oceanside |  | 127 | Station B
[18 empty] | ER1 | Erlanger |  | 128 | Sampson
[18 empty] | ES4 | Esco |  | 129 | Sampson
[18 empty] | EV1 | El Rancho Vista |  | 130 | Sampson
[18 empty] | FB1 | Fallbrook 1 |  | 131 | Sampson
[18 empty] | FB2 | Fallbrook 2 |  | 132 | Sampson
[18 empty] | FL1 | Flower |  | 133 | Sampson
[18 empty] | FM1 | FAIRMOUNT 1 |  | 134 | Kettner
[18 empty] | FM2 | FAIRMOUNT 2 |  | 135 | Kettner
[18 empty] | FM3 | FAIRMOUNT 3 |  | 136 | Old Town
[18 empty] | FRD1 | Flintridge |  | 137 | Kettner
[18 empty] | GA1 | Garfield 1 |  | 138 | Kettner
[18 empty] | GA3 | Garfield 3 |  | 139 | Kettner
[18 empty] | GH1 | Golden Hills 1 |  | 140 | Station F
[18 empty] | GH2 | Golden Hills 2 |  | 141 | Mission
[18 empty] | GH3 | Golden Hills 3 |  | 142 | Mission
[18 empty] | GLM0 | Goal Line Meter |  | 143 | Mission
[18 empty] | GM2 | Grossmont |  | 1436 | Grant Hill
[18 empty] | GN1 | Garnet |  | 1437 | Grant Hill
[18 empty] | GS1 | Gesner |  | 144 | Mission
[18 empty] | HB5 | Harbor 5 |  | 145 | Mission
[18 empty] | HC3 | Hillcrest 3 |  | 1458 | Alpine
[18 empty] | HC4 | Hillcrest 4 |  | 146 | Mission
[18 empty] | HL1 | Highland |  | 147 | Mission
[18 empty] | HL3 | Highland 3 |  | 149 | Mission
[18 empty] | HO1 | Horno |  | 150 | Otay
[18 empty] | HP1 | Hilltop |  | 151 | Otay
[18 empty] | HV1 | Helix View |  | 152 | Otay
[18 empty] | HW1 | Hawley |  | 153 | Otay
[18 empty] | IB1 | Imperial Beach |  | 154 | Otay
[18 empty] | IB2 | Imperial Beach |  | 155 | Otay
[18 empty] | JE1 | Jennings |  | 156 | Imperial Beach
[18 empty] | JU1 | Julian |  | 157 | Barrett
[18 empty] | KR1 | Kramer |  | 158 | Imperial Beach
[18 empty] | LA1 | Lincoln Acres |  | 159 | Imperial Beach
[18 empty] | LA2 | Lincoln Acres |  | 160 | Chollas West
[18 empty] | LA3 | Lincoln Acres |  | 161 | Chollas West
[18 empty] | LD2 | Lindbergh |  | 162 | Chollas West
[18 empty] | LF1 | La Jolla Farms |  | 163 | Chollas West
[18 empty] | LJ3 | La Jolla 3 |  | 164 | Chollas West
[18 empty] | LJ4 | La Jolla 4 |  | 165 | Chollas West
[18 empty] | LJS1 | La Jolla Shores 1 |  | 166 | Chollas West
[18 empty] | LJS2 | La Jolla Shores |  | 167 | Streamview
[18 empty] | LM3 | La Mesa |  | 168 | Streamview
[18 empty] | LPS1 | Las Palmas |  | 169 | Streamview
[18 empty] | LR1 | Lamar |  | 170 | Borrego
[18 empty] | LSS1 | Line School |  | 171 | Borrego
[18 empty] | LV2 | Linda Vista |  | 172 | Borrego
[18 empty] | MA1 | Morena1 |  | 175 | Poway
[18 empty] | MA2 | Morena2 |  | 176 | Poway
[18 empty] | MAG1 | Magnolia |  | 177 | Poway
[18 empty] | MAN1 | Manzanita |  | 178 | Poway
[18 empty] | MB1 | Mission Beach |  | 179 | Coronado
[18 empty] | MC1 | Pendleton |  | 180 | Escondido
[18 empty] | MC2 | Pendleton |  | 181 | Escondido
[18 empty] | MF1 | Mansfield |  | 182 | Escondido
[18 empty] | MK1 | Market |  | 183 | Escondido
[18 empty] | MK2 | Market |  | 184 | Escondido
[18 empty] | MM1 | Mimulus |  | 185 | Escondido
[18 empty] | MNR3 | Monroe 3 |  | 186 | Escondido
[18 empty] | MO1 | Monarch Bay |  | 187 | Escondido
[18 empty] | MOR1 | Moore |  | 188 | Escondido
[18 empty] | MT1 | Middletown |  | 189 | Escondido
[18 empty] | MT2 | Middletown |  | 190 | San Luis Rey
[18 empty] | MU1 | Muirlands |  | 191 | San Luis Rey
[18 empty] | MV1 | Monte Vista |  | 192 | San Luis Rey
[18 empty] | MZ1 | Montezuma |  | 194 | San Luis Rey
[18 empty] | NC1 | National City |  | 195 | Capistrano
[18 empty] | NC3 | National City |  | 196 | Capistrano
[18 empty] | NC4 | National City |  | 197 | Capistrano
[18 empty] | NCM0 | North County Metering |  | 198 | San Luis Rey
[18 empty] | NIM0 | North Island Mtr |  | 199 | San Luis Rey
[18 empty] | NO1 | North Otay |  | 20 | NTC-C
[18 empty] | NO2 | North Otay |  | 200 | San Mateo
[18 empty] | NO3 | North Otay |  | 202 | Las Pulgas
[18 empty] | NSD1 | Naval Supply Depot |  | 203 | San Mateo
[18 empty] | NSM0 | Naval Station Mtr |  | 204 | San Mateo
[18 empty] | NT1 | Newton |  | 205 | Melrose
[18 empty] | NVS1 | North Vista |  | 206 | Melrose
[18 empty] | OCA1 | Ocasa |  | 207 | Melrose
[18 empty] | OH1 | Ohio |  | 208 | Melrose
[18 empty] | OK1 | Oaks 1 |  | 209 | Melrose
[18 empty] | OS1 | Oceanside 1 |  | 210 | Warners
[18 empty] | OS4 | Oceanside 4 |  | 211 | Warners
[18 empty] | OT2 | Old Town 2 |  | 212 | Warners
[18 empty] | PB1 | Pacific Beach 1 |  | 213 | San Luis Rey
[18 empty] | PB5 | Pacific Beach 5 |  | 214 | Rincon
[18 empty] | PE1 | Pine Hills |  | 215 | Rincon
[18 empty] | PH1 | Phillips |  | 216 | Rincon
[18 empty] | PK1 | Park |  | 217 | Rincon
[18 empty] | PK2 | Park |  | 218 | De Portola (SCE)
[18 empty] | PK3 | Park |  | 22 | NTC-C
[18 empty] | PK4 | Park |  | 220 | Santa Ysabel
[18 empty] | PK5 | Park |  | 221 | Santa Ysabel
[18 empty] | PK6 | Park |  | 222 | Santa Ysabel
[18 empty] | PK7 | Park |  | 223 | Miramar | 1
[18 empty] | PL2 | Point Loma |  | 224 | Miramar
[18 empty] | PL4 | Point Loma |  | 225 | Miramar
[18 empty] | PL6 | Point Loma |  | 226 | Miramar
[18 empty] | PLA1 | Playa |  | 227 | Miramar
[18 empty] | PLS1 | Point Loma Sewage |  | 228 | Miramar
[18 empty] | PY1 | Pauma Valley |  | 229 | Miramar
[18 empty] | QB1 | Quivera Basin |  | 23 | NTC-C
[18 empty] | QN1 | Queen |  | 230 | Monserate
[18 empty] | RA1 | Ramona |  | 231 | Monserate
[18 empty] | RA2 | Ramona |  | 232 | Monserate
[18 empty] | RA3 | Ramona |  | 233 | Monserate
[18 empty] | RB1 | Rainbow 1 |  | 234 | Monserate
[18 empty] | RC1 | Reidy Canyon |  | 235 | Creelman
[18 empty] | RD1 | Rolando |  | 236 | Creelman
[18 empty] | RD2 | Rolando |  | 237 | Creelman
[18 empty] | RD4 | Rolando |  | 238 | Boulder Creek
[18 empty] | RE1 | Reo |  | 239 | Pala
[18 empty] | RI1 | Richfield |  | 24 | NTC-C
[18 empty] | RS1 | Roswell |  | 240 | Los Coches
[18 empty] | RV1 | Roseville |  | 241 | Los Coches
[18 empty] | RV2 | Roseville |  | 242 | Los Coches
[18 empty] | RV3 | Roseville |  | 243 | Los Coches
[18 empty] | S1 | Sampson 1 |  | 244 | Los Coches
[18 empty] | S2 | Sampson 2 |  | 245 | Los Coches
[18 empty] | SB1 | Ski Beach |  | 246 | Los Coches
[18 empty] | SC1 | San Clemente |  | 247 | Los Coches
[18 empty] | SC2 | San Clemente |  | 249 | Pala
[18 empty] | SE4 | Serra |  | 250 | Kearny
[18 empty] | SEA1 | Seaview |  | 251 | Kearny
[18 empty] | SF2 | Rancho Santa Fe |  | 252 | Kearny
[18 empty] | SF3 | Rancho Santa Fe |  | 253 | Kearny
[18 empty] | SHC1 | Shorecliffs |  | 254 | Kearny
[18 empty] | SK1 | Salt Works |  | 255 | Montgomery
[18 empty] | SL1 | Salton |  | 256 | Montgomery
[18 empty] | SLD1 | Soledad |  | 257 | Montgomery
[18 empty] | SO1 | South Oceanside |  | 258 | Montgomery
[18 empty] | SR1 | Streamview 1 |  | 260 | Otay Lakes
[18 empty] | SR4 | Streamview 4 |  | 261 | Torrey Pines
[18 empty] | SSC1 | South San Clemente |  | 262 | Torrey Pines
[18 empty] | SW1 | Sweetwater |  | 263 | Torrey Pines
[18 empty] | SW2 | Sweetwater |  | 264 | Torrey Pines
[18 empty] | SW3 | Sweetwater |  | 265 | Torrey Pines
[18 empty] | SW4 | Sweetwater |  | 266 | Torrey Pines
[18 empty] | TM1 | Temecula (SCE) |  | 267 | Torrey Pines
[18 empty] | TR1 | Taylor |  | 268 | Genesee
[18 empty] | TY1 | Tyrone |  | 269 | Genesee
[18 empty] | UCM0 | Univ Ca Meter |  | 270 | Genesee
[18 empty] | UP1 | Upas |  | 271 | Genesee
[18 empty] | UP2 | Upas 2 |  | 272 | Genesee
[18 empty] | VDN1 | Via Del Norte |  | 273 | Genesee
[18 empty] | VO1 | Volta |  | 274 | Clairemont
[18 empty] | VS1 | Vista |  | 275 | Clairemont
[18 empty] | VS2 | Vista |  | 276 | Clairemont
[18 empty] | VS3 | Vista |  | 277 | Clairemont
[18 empty] | VS4 | Vista |  | 278 | Clairemont
[18 empty] | VT1 | Vista Terrace |  | 279 | Clairemont
[18 empty] | VW1 | Vista Way |  | 280 | Carlton Hills
[18 empty] | WA1 | Wabash |  | 281 | Carlton Hills
[18 empty] | WA2 | Wabash |  | 282 | Carlton Hills
[18 empty] | WA3 | Wabash |  | 283 | Loveland
[18 empty] | WA4 | Wabash |  | 284 | Encinitas
[18 empty] | WA5 | Wabash |  | 286 | Encinitas
[18 empty] | WA6 | Wabash |  | 287 | Encinitas
[18 empty] | WC2 | Warren Canyon |  | 288 | Encinitas
[18 empty] | WT1 | Whitney |  | 289 | Encinitas
[18 empty] | WY1 | Witherby |  | 290 | Bernardo
[18 empty] | WY2 | Witherby |  | 291 | Bernardo
[18 empty] | WY3 | Witherby |  | 292 | Bernardo
[18 empty] | YS1 | Yerba Santa |  | 293 | Bernardo
[18 empty] | * | * |  | 294 | Bernardo
[21 empty] | 295 | San Marcos
[21 empty] | 296 | San Marcos
[21 empty] | 297 | San Marcos
[21 empty] | 298 | San Marcos
[21 empty] | 299 | San Marcos
[21 empty] | 30 | NTC-C
[21 empty] | 300 | Pendleton
[21 empty] | 301 | Pendleton
[21 empty] | 303 | Cannon
[21 empty] | 304 | Cannon
[21 empty] | 305 | Rancho Santa Fe
[21 empty] | 306 | Rancho Santa Fe
[21 empty] | 307 | Rancho Santa Fe
[21 empty] | 308 | Carlton Hills
[21 empty] | 309 | Carlton Hills
[21 empty] | 31 | NTC-C
[21 empty] | 310 | Laguna Niguel
[21 empty] | 311 | Laguna Niguel
[21 empty] | 312 | Laguna Niguel
[21 empty] | 313 | Capistrano
[21 empty] | 314 | Capistrano
[21 empty] | 315 | Capistrano
[21 empty] | 320 | Paradise
[21 empty] | 321 | Paradise
[21 empty] | 322 | Paradise
[21 empty] | 323 | Paradise
[21 empty] | 324 | Paradise
[21 empty] | 325 | Paradise
[21 empty] | 326 | Paradise
[21 empty] | 327 | Warren Canyon
[21 empty] | 329 | San Mateo
[21 empty] | 330 | San Mateo
[21 empty] | 331 | San Mateo
[21 empty] | 334 | San Ysidro
[21 empty] | 335 | Fenton
[21 empty] | 336 | General Dynamics
[21 empty] | 337 | General Dynamics
[21 empty] | 338 | Cristianitos
[21 empty] | 339 | Cristianitos
[21 empty] | 34 | Friars
[21 empty] | 340 | Sunnyside
[21 empty] | 341 | Sunnyside
[21 empty] | 342 | Streamview
[21 empty] | 343 | Streamview
[21 empty] | 344 | Streamview
[21 empty] | 346 | Fenton
[21 empty] | 348 | Kyocera
[21 empty] | 35 | Friars
[21 empty] | 350 | Lilac
[21 empty] | 351 | Lilac
[21 empty] | 352 | Lilac
[21 empty] | 353 | Lilac
[21 empty] | 354 | Lilac
[21 empty] | 355 | Alpine
[21 empty] | 356 | Alpine
[21 empty] | 357 | Alpine
[21 empty] | 358 | Alpine
[21 empty] | 36 | Friars
[21 empty] | 361 | Station F
[21 empty] | 362 | Station F
[21 empty] | 363 | Station F
[21 empty] | 364 | Station F
[21 empty] | 365 | Station F
[21 empty] | 366 | Station F
[21 empty] | 367 | Kettner
[21 empty] | 368 | Station F
[21 empty] | 37 | Friars
[21 empty] | 370 | Sampson
[21 empty] | 371 | Sampson
[21 empty] | 372 | Coronado
[21 empty] | 373 | Coronado
[21 empty] | 374 | Coronado
[21 empty] | 375 | Coronado
[21 empty] | 376 | Coronado
[21 empty] | 377 | Coronado
[21 empty] | 378 | Division
[21 empty] | 38 | Friars
[21 empty] | 380 | Elliott
[21 empty] | 381 | Elliott
[21 empty] | 382 | Elliott
[21 empty] | 383 | Elliott
[21 empty] | 384 | Elliott
[21 empty] | 385 | Elliott
[21 empty] | 386 | Granite
[21 empty] | 387 | Granite
[21 empty] | 39 | Friars
[21 empty] | 390 | Santee
[21 empty] | 391 | Santee
[21 empty] | 392 | Santee
[21 empty] | 393 | Santee
[21 empty] | 394 | Santee
[21 empty] | 395 | Santee
[21 empty] | 396 | Santee
[21 empty] | 397 | Murray
[21 empty] | 399 | Murray
[21 empty] | 40 | Sweetwater
[21 empty] | 400 | Murray
[21 empty] | 401 | Murray
[21 empty] | 402 | Murray
[21 empty] | 403 | Murray
[21 empty] | 404 | Murray
[21 empty] | 405 | Kettner
[21 empty] | 406 | Murray
[21 empty] | 407 | Murray
[21 empty] | 409 | Granite
[21 empty] | 41 | Sweetwater
[21 empty] | 410 | Granite
[21 empty] | 411 | Granite
[21 empty] | 412 | Granite
[21 empty] | 413 | Granite
[21 empty] | 414 | Granite
[21 empty] | 415 | Granite
[21 empty] | 416 | Granite
[21 empty] | 417 | Granite
[21 empty] | 418 | Granite
[21 empty] | 42 | Sweetwater
[21 empty] | 423 | Urban
[21 empty] | 424 | Urban
[21 empty] | 425 | Urban
[21 empty] | 426 | Urban
[21 empty] | 427 | Urban
[21 empty] | 428 | Urban
[21 empty] | 429 | Urban
[21 empty] | 43 | Sweetwater
[21 empty] | 430 | Streamview
[21 empty] | 431 | Streamview
[21 empty] | 432 | Scripps
[21 empty] | 433 | Scripps
[21 empty] | 434 | Scripps
[21 empty] | 435 | Scripps
[21 empty] | 436 | Scripps
[21 empty] | 437 | Scripps
[21 empty] | 438 | Scripps
[21 empty] | 439 | Scripps
[21 empty] | 44 | Sweetwater
[21 empty] | 440 | Glencliff
[21 empty] | 441 | Glencliff
[21 empty] | 442 | Glencliff
[21 empty] | 443 | San Ysidro
[21 empty] | 444 | Boulevard
[21 empty] | 445 | Boulevard
[21 empty] | 448 | Cameron
[21 empty] | 449 | Cameron
[21 empty] | 45 | Sweetwater
[21 empty] | 450 | Ash
[21 empty] | 451 | Ash
[21 empty] | 452 | Ash
[21 empty] | 453 | Ash
[21 empty] | 454 | Ash
[21 empty] | 455 | Ash
[21 empty] | 456 | Ash
[21 empty] | 457 | Kettner
[21 empty] | 458 | Kettner
[21 empty] | 460 | San Ysidro
[21 empty] | 461 | San Ysidro
[21 empty] | 462 | San Ysidro
[21 empty] | 463 | San Ysidro
[21 empty] | 464 | Urban
[21 empty] | 465 | Urban
[21 empty] | 466 | Urban
[21 empty] | 467 | Urban
[21 empty] | 468 | Urban
[21 empty] | 469 | Urban
[21 empty] | 47 | Division
[21 empty] | 470 | Felicita
[21 empty] | 471 | Felicita
[21 empty] | 472 | Felicita
[21 empty] | 473 | Felicita
[21 empty] | 474 | Felicita
[21 empty] | 475 | Poway
[21 empty] | 476 | Poway
[21 empty] | 477 | Urban
[21 empty] | 48 | Division
[21 empty] | 480 | Cabrillo
[21 empty] | 481 | Cabrillo
[21 empty] | 482 | Cabrillo
[21 empty] | 483 | Cabrillo
[21 empty] | 484 | Cabrillo
[21 empty] | 486 | Morro Hill
[21 empty] | 487 | Morro Hill
[21 empty] | 488 | Ash
[21 empty] | 489 | Ash
[21 empty] | 49 | Division
[21 empty] | 490 | Old Town
[21 empty] | 491 | Old Town
[21 empty] | 492 | Old Town
[21 empty] | 493 | Old Town
[21 empty] | 494 | Old Town
[21 empty] | 496 | Point Loma
[21 empty] | 497 | San Luis Rey
[21 empty] | 498 | San Luis Rey
[21 empty] | 499 | Stuart
[21 empty] | 50 | Point Loma
[21 empty] | 500 | Chicarita
[21 empty] | 501 | Chicarita
[21 empty] | 502 | Chicarita
[21 empty] | 504 | Melrose
[21 empty] | 505 | Melrose
[21 empty] | 506 | Melrose
[21 empty] | 507 | Melrose
[21 empty] | 508 | Melrose
[21 empty] | 509 | Melrose
[21 empty] | 51 | Point Loma
[21 empty] | 510 | Del Mar
[21 empty] | 511 | Del Mar
[21 empty] | 512 | Del Mar
[21 empty] | 513 | Esco
[21 empty] | 514 | Esco
[21 empty] | 515 | Esco
[21 empty] | 516 | Esco
[21 empty] | 517 | Esco
[21 empty] | 518 | Esco
[21 empty] | 519 | Esco
[21 empty] | 52 | Point Loma
[21 empty] | 520 | Avocado
[21 empty] | 521 | Avocado
[21 empty] | 522 | Avocado
[21 empty] | 523 | Avocado
[21 empty] | 524 | Jamacha
[21 empty] | 525 | Jamacha
[21 empty] | 527 | Las Pulgas
[21 empty] | 528 | Genesee
[21 empty] | 529 | Genesee
[21 empty] | 53 | Point Loma
[21 empty] | 531 | Imperial Beach
[21 empty] | 532 | Imperial Beach
[21 empty] | 533 | Border
[21 empty] | 534 | Border
[21 empty] | 535 | Border
[21 empty] | 536 | Border
[21 empty] | 537 | Bernardo
[21 empty] | 538 | Bernardo
[21 empty] | 539 | Bernardo
[21 empty] | 54 | Point Loma
[21 empty] | 540 | Bernardo
[21 empty] | 541 | Bernardo
[21 empty] | 542 | Bernardo
[21 empty] | 543 | Bernardo
[21 empty] | 544 | Bernardo
[21 empty] | 545 | Pacific Beach
[21 empty] | 546 | Pacific Beach
[21 empty] | 547 | El Cajon
[21 empty] | 548 | El Cajon
[21 empty] | 549 | El Cajon
[21 empty] | 55 | Point Loma
[21 empty] | 550 | El Cajon
[21 empty] | 551 | El Cajon
[21 empty] | 552 | El Cajon
[21 empty] | 553 | El Cajon
[21 empty] | 554 | El Cajon
[21 empty] | 555 | El Cajon
[21 empty] | 556 | Trabuco
[21 empty] | 557 | Trabuco
[21 empty] | 558 | Trabuco
[21 empty] | 559 | Trabuco
[21 empty] | 56 | Pacific Beach
[21 empty] | 560 | Trabuco
[21 empty] | 561 | Trabuco
[21 empty] | 562 | Trabuco
[21 empty] | 563 | Trabuco
[21 empty] | 564 | Trabuco
[21 empty] | 565 | Trabuco
[21 empty] | 566 | Trabuco
[21 empty] | 567 | Trabuco
[21 empty] | 568 | Japanese Mesa
[21 empty] | 569 | Japanese Mesa
[21 empty] | 57 | Pacific Beach
[21 empty] | 570 | La Jolla
[21 empty] | 571 | La Jolla
[21 empty] | 572 | La Jolla
[21 empty] | 574 | Bernardo
[21 empty] | 575 | Bernardo
[21 empty] | 576 | Bernardo
[21 empty] | 577 | Bernardo
[21 empty] | 578 | Pacific Beach
[21 empty] | 579 | Pacific Beach
[21 empty] | 58 | Pacific Beach
[21 empty] | 580 | Oceanside
[21 empty] | 581 | Oceanside
[21 empty] | 582 | Oceanside
[21 empty] | 583 | Palomar Airport
[21 empty] | 584 | Palomar Airport
[21 empty] | 585 | Palomar Airport
[21 empty] | 586 | Palomar Airport
[21 empty] | 587 | Palomar Airport
[21 empty] | 588 | Palomar Airport
[21 empty] | 59 | Rose Canyon
[21 empty] | 590 | Proctor Valley
[21 empty] | 591 | Proctor Valley
[21 empty] | 592 | Proctor Valley
[21 empty] | 593 | Proctor Valley
[21 empty] | 594 | Proctor Valley
[21 empty] | 595 | San Marcos
[21 empty] | 596 | San Marcos
[21 empty] | 597 | San Marcos
[21 empty] | 598 | San Marcos
[21 empty] | 599 | San Marcos
[21 empty] | 60 | Old Town
[21 empty] | 61 | Del Mar
[21 empty] | 62 | Del Mar
[21 empty] | 63 | Del Mar
[21 empty] | 64 | Rose Canyon
[21 empty] | 65 | Rose Canyon
[21 empty] | 66 | Del Mar
[21 empty] | 67 | Barrett
[21 empty] | 68 | Del Mar
[21 empty] | 69 | Rose Canyon
[21 empty] | 70 | Sampson
[21 empty] | 700 | Mission
[21 empty] | 701 | Mission
[21 empty] | 702 | Mission
[21 empty] | 703 | Mission
[21 empty] | 704 | Mission
[21 empty] | 706 | Mission
[21 empty] | 707 | Mission
[21 empty] | 708 | Mission
[21 empty] | 71 | El Cajon
[21 empty] | 710 | Kearny
[21 empty] | 711 | Kearny
[21 empty] | 712 | Kearny
[21 empty] | 713 | Kearny
[21 empty] | 714 | Kearny
[21 empty] | 715 | Kearny
[21 empty] | 716 | Kearny
[21 empty] | 718 | Montgomery
[21 empty] | 719 | Montgomery
[21 empty] | 72 | El Cajon
[21 empty] | 723 | Imperial Beach
[21 empty] | 726 | Scripps
[21 empty] | 727 | Scripps
[21 empty] | 728 | Scripps
[21 empty] | 73 | Descanso
[21 empty] | 730 | Spring Valley
[21 empty] | 731 | Spring Valley
[21 empty] | 732 | Spring Valley
[21 empty] | 733 | Spring Valley
[21 empty] | 735 | Torrey Pines
[21 empty] | 736 | Torrey Pines
[21 empty] | 737 | Torrey Pines
[21 empty] | 738 | Torrey Pines
[21 empty] | 739 | Torrey Pines
[21 empty] | 74 | El Cajon
[21 empty] | 740 | Point Loma
[21 empty] | 741 | Point Loma
[21 empty] | 742 | Genesee
[21 empty] | 743 | Genesee
[21 empty] | 744 | Genesee
[21 empty] | 745 | Genesee
[21 empty] | 746 | Genesee
[21 empty] | 747 | Genesee
[21 empty] | 748 | Genesee
[21 empty] | 749 | Genesee
[21 empty] | 75 | Jamacha
[21 empty] | 750 | Batiquitos
[21 empty] | 751 | Batiquitos
[21 empty] | 752 | Batiquitos
[21 empty] | 753 | Batiquitos
[21 empty] | 754 | Batiquitos
[21 empty] | 755 | Batiquitos
[21 empty] | 756 | Station B
[21 empty] | 757 | Batiquitos
[21 empty] | 759 | Spring Valley
[21 empty] | 76 | El Cajon
[21 empty] | 760 | Miramar
[21 empty] | 761 | Miramar
[21 empty] | 762 | Miramar
[21 empty] | 763 | Miramar
[21 empty] | 764 | Miramar
[21 empty] | 765 | Trabuco
[21 empty] | 766 | Trabuco
[21 empty] | 767 | Trabuco
[21 empty] | 768 | Trabuco
[21 empty] | 77 | El Cajon
[21 empty] | 770 | Mesa Heights
[21 empty] | 771 | Mesa Heights
[21 empty] | 772 | Mesa Heights
[21 empty] | 773 | Mesa Heights
[21 empty] | 774 | Mesa Heights
[21 empty] | 775 | Mesa Heights
[21 empty] | 776 | Mesa Heights
[21 empty] | 779 | Cannon
[21 empty] | 78 | Descanso
[21 empty] | 780 | Cannon
[21 empty] | 781 | Cannon
[21 empty] | 782 | Cannon
[21 empty] | 783 | Cannon
[21 empty] | 785 | Station B
[21 empty] | 786 | Station B
[21 empty] | 789 | Felicita
[21 empty] | 79 | Descanso
[21 empty] | 790 | Felicita
[21 empty] | 791 | Felicita
[21 empty] | 792 | Laguna Niguel
[21 empty] | 793 | Laguna Niguel
[21 empty] | 794 | Laguna Niguel
[21 empty] | 795 | Laguna Niguel
[21 empty] | 796 | Laguna Niguel
[21 empty] | 797 | Laguna Niguel
[21 empty] | 798 | Laguna Niguel
[21 empty] | 799 | Capistrano
[21 empty] | 80 | Sampson
[21 empty] | 81 | Coronado
[21 empty] | 83 | Murray
[21 empty] | 830 | North City West
[21 empty] | 831 | North City West
[21 empty] | 832 | North City West
[21 empty] | 833 | North City West
[21 empty] | 834 | North City West
[21 empty] | 835 | North City West
[21 empty] | 84 | Murray
[21 empty] | 846 | Torrey Pines
[21 empty] | 847 | Torrey Pines
[21 empty] | 85 | Murray
[21 empty] | 850 | Shadowridge
[21 empty] | 851 | Shadowridge
[21 empty] | 852 | Shadowridge
[21 empty] | 853 | Shadowridge
[21 empty] | 854 | Shadowridge
[21 empty] | 855 | Shadowridge
[21 empty] | 856 | Shadowridge
[21 empty] | 857 | Shadowridge
[21 empty] | 858 | Shadowridge
[21 empty] | 859 | Shadowridge
[21 empty] | 86 | Murray
[21 empty] | 87 | Murray
[21 empty] | 88 | Murray
[21 empty] | 89 | Station B
[21 empty] | 90 | Station F
[21 empty] | 900 | San Luis Rey
[21 empty] | 901 | San Luis Rey
[21 empty] | 902 | San Luis Rey
[21 empty] | 903 | San Luis Rey
[21 empty] | 904 | San Luis Rey
[21 empty] | 907 | Valley Center
[21 empty] | 908 | Valley Center
[21 empty] | 909 | Valley Center
[21 empty] | 91 | Jamacha
[21 empty] | 910 | Chicarita
[21 empty] | 911 | Chicarita
[21 empty] | 912 | Chicarita
[21 empty] | 913 | Chicarita
[21 empty] | 915 | Chicarita
[21 empty] | 916 | Chicarita
[21 empty] | 92 | Jamacha
[21 empty] | 920 | Pomerado
[21 empty] | 921 | Pomerado
[21 empty] | 922 | Pomerado
[21 empty] | 923 | Pomerado
[21 empty] | 924 | Pomerado
[21 empty] | 925 | Pomerado
[21 empty] | 926 | Pomerado
[21 empty] | 93 | Jamacha
[21 empty] | 930 | Rancho Carmel
[21 empty] | 931 | Rancho Carmel
[21 empty] | 932 | Rancho Carmel
[21 empty] | 933 | Rancho Carmel
[21 empty] | 934 | Rancho Carmel
[21 empty] | 935 | Rancho Carmel
[21 empty] | 936 | Rancho Carmel
[21 empty] | 937 | Rancho Carmel
[21 empty] | 94 | Spring Valley
[21 empty] | 940 | Telegraph Canyon
[21 empty] | 941 | Telegraph Canyon
[21 empty] | 942 | Telegraph Canyon
[21 empty] | 943 | Telegraph Canyon
[21 empty] | 944 | Telegraph Canyon
[21 empty] | 945 | Telegraph Canyon
[21 empty] | 946 | Garfield
[21 empty] | 947 | Garfield
[21 empty] | 948 | Garfield
[21 empty] | 949 | Garfield
[21 empty] | 95 | Jamacha
[21 empty] | 950 | Mesa Rim
[21 empty] | 951 | Mesa Rim
[21 empty] | 952 | Mesa Rim
[21 empty] | 953 | Mesa Rim
[21 empty] | 954 | Mesa Rim
[21 empty] | 955 | Mesa Rim
[21 empty] | 956 | Mesa Rim
[21 empty] | 957 | Mesa Rim
[21 empty] | 958 | Mesa Rim
[21 empty] | 959 | Mesa Rim
[21 empty] | 96 | Jamacha
[21 empty] | 960 | Mesa Rim
[21 empty] | 961 | Mesa Rim
[21 empty] | 962 | Mesa Rim
[21 empty] | 963 | Mesa Rim
[21 empty] | 966 | Eastgate
[21 empty] | 967 | Eastgate
[21 empty] | 968 | Eastgate
[21 empty] | 969 | Eastgate
[21 empty] | 970 | Creelman
[21 empty] | 971 | Creelman
[21 empty] | 972 | Creelman
[21 empty] | 973 | Creelman
[21 empty] | 974 | Creelman
[21 empty] | 975 | Creelman
[21 empty] | 98 | Station B
[21 empty] | 980 | Margarita
[21 empty] | 981 | Margarita
[21 empty] | 982 | Margarita
[21 empty] | 983 | Margarita
[21 empty] | 984 | Margarita
[21 empty] | 985 | Margarita
[21 empty] | 986 | Margarita
[21 empty] | 987 | Margarita
[21 empty] | 988 | Margarita
[21 empty] | 989 | Margarita
[21 empty] | 99 | Station B
[21 empty] | 990 | Pico
[21 empty] | 991 | Pico
[21 empty] | 992 | Pico
[21 empty] | 993 | Pico
[21 empty] | 994 | Pico
[21 empty] | * | *
Note on C17: Click in Cell & Select Primary Voltage from Drop-Down List
Note on F19: Click in Cell & Select Panel Size from Drop-Down List.
Note on F17: Click in Cell & Select Secondary Voltage from Drop-Down List.
Note on C15: Enter Transformer Number, if Applicable.
Note on F9: If Superseding Load Study, Enter Date of Original Load Study.
Note on I17: Click in cell and select single or three phase.
Note on K17: Click in Cell & Select Number of Wires.
Note on Q34: Click in Cell & Select Project Type.
Note on C19: Click in Cell & Select Yes or No. Select N/A if form is for subdivision, feeder or Company Work.
Note on Q33: Click in Cell & Select Proper C&O Center
Note on J19: Click in cell and select type of project.

## Load Study
None
Minute
2 | [5 empty] | Hour
Day
Week
N/A
Connected
Demand
Estimated
| Estimated |  |  |  |  | None
3 | [5 empty] | Regular
High Efficiency
N/A
Yes
No
| No |  |  | No
|  | Per | N/A
2 | N/A
FALSE
0
0
TRUE
TRUE
Note on E24: Click in Cell and Select from Choices on Drop-Down List.
Note on C3: Click in Cell & Select Method of Determining New Load.
Note on C12: Click in Cell & Select Method of Determining New Load.
Note on C26: Click in Cell & Select Motor Type.
Note on C22: click in Cell & Select "yes" or "no."
Note on H22: Click in Cell & Select "yes" or "no."
Description of Load
Description of Load
Motors:

## Fusing
FALSE
|  | None |  | No | [5 empty] | None
Grounding Bank
| No |  | No | [6 empty] | Substation
Stepdown
[5 empty] | X | Y | Z
N/A | [7 empty] | 0
0
[8 empty] | 0 |  | Yes | New
N/A | [7 empty] | 0 |  | No | Exist
N/A
[8 empty] | 0 |  |  | N/A
N/A | [7 empty] | 0
[8 empty] | 0 |  | X | Y | Z
[10 empty] | X - Y | Y - Z | Z - X
N/A | [7 empty] | 0
0
No
FALSE
1
TRUE
TRUE
Note on E5: Click in Cell & Select Proper Neutral Source.
Note on D29: Click in Cell & Select Yes or No.
Note on D7: Click in Cell & Select Yes or No.
Note on J5: Click in Cell & Select Yes or No.
Note on H7: Click in Cell & Make Selection.
Click Cell and Select Appropriate Phase Buttons
Sketch Attached:
Fuse Cabinet:

## Dist Pl Worksheet
Master Plan
| FALSE |  |  | Project Boundary
Facility
Circuit Operating
Master Plan/Facility
Master Plan/Cir. Op.
Master Plan/Cir. Op./Fac.
N/A |  | N/A | FALSE | N/A
FALSE
|  |  | FALSE | Yes
No
N/A
TRUE
Note on C15: Attached Maps: Click in Cell and Select Appropriate Map from Drop-Down List.
Note on H15: Click in Cell & Select Yes or No.
Sketch Attached:

## System Pl Input
| Select: | kW
kW
[6 empty] | Yes | kVA
No
1
N/A
[6 empty] | minute |  |  | 8 amps
FALSE | [5 empty] | hour |  |  | 10 amps
|  |  |  | FALSE | FALSE | day | 800 AMP |  | 12 amps
[6 empty] | week | 1000 AMP |  | 18 amps
| FALSE |  |  |  |  | N/A | N/A | Comb Tech | 20 amps
[8 empty] | D&W | 25 amps
[5 empty] | FALSE |  |  | EJO-1 | 30 amps
[8 empty] | ELF | 40 amps
[5 empty] | FALSE |  |  | FE | 50 amps
[8 empty] | KA | 65 amps
[5 empty] | FALSE |  |  | KB | 80 amps
[8 empty] | NX | 100 amps
[5 empty] | FALSE |  |  | SME | 150 amps
[8 empty] | X-LIM | 200 amps
FALSE
Phone
0
TRUE
[12 empty] | FALSE | FALSE
TRUE
TRUE
Note on F9: Click in Cell and Select Proper Timeframe from Drop-Down List.
Note on E11: Click in Cell and Select Proper Size from Drop-Down List.
Note on C16: Click in Cell and Select Proper Fuse Type from Drop-Down List.
Note on H13: Click in Cell & Select Fuse Size.
Note on H15: Click in Cell & Select Fuse Size.
Note on J15: Click in Cell & Select Fuse Size.
Note on E16: Click in Cell & Select Fuse Size.
Note on F3: Click in Cell and Make Selection.
Fault Indicator Size:

## Panel Sch
Panel Schedule Summary (Enter Values in kW)
Panel Size |  |  | N/A | [6 empty] | 1
Panel Schedule Number >>> |  |  | 1 | 2 | 3 | 4 | 5 | 6
Lighting |  | 0.9 | [8 empty] | 0
Air Cond. | 1st unit | 1 | [8 empty] | 0
| 2-5 units | 0.8 | [8 empty] | 0
| >6 units | 0.7 | [8 empty] | 0
Motors | Continuous | 0.9 | [8 empty] | 0
| Process | 0.8 | [8 empty] | 0
| Mach Shp | 0.5 | [8 empty] | 0
| Mach Tool | 0.3 | [8 empty] | 0
Heating | Largest | 1 | [8 empty] | 0
| Balance | 0.5 | [8 empty] | 0
Computers |  | 0.8 | [8 empty] | 0
Receptacles |  | 0.1 | [8 empty] | 0
Panel Schedule Number >>> |  |  | 7 | 8 | 9 | 10 | 11 | 12
Lighting |  | 0.9 | [8 empty] | 0
Air Cond. | 1st unit | 1 | [8 empty] | 0
| 2-5 units | 0.8 | [8 empty] | 0
| >6 units | 0.7 | [8 empty] | 0
Motors | Continous | 0.9 | [8 empty] | 0
| Process | 0.8 | [8 empty] | 0
| Mach Shp | 0.5 | [8 empty] | 0
| Mach Tool | 0.3 | [8 empty] | 0
Heating | Largest | 1 | [8 empty] | 0
| Balance | 0.5 | [8 empty] | 0
Computers |  | 0.8 | [8 empty] | 0
Receptacles |  | 0.1 | [8 empty] | 0
Panel Schedule Number >>> |  |  | 13 | 14 | 15 | 16 | 17 | 18
Lighting |  | 0.9 | [8 empty] | 0
Air Cond. | 1st unit | 1 | [8 empty] | 0
| 2-5 units | 0.8 | [8 empty] | 0
| >6 units | 0.7 | [8 empty] | 0
Motors | Continous | 0.9 | [8 empty] | 0
| Process | 0.8 | [8 empty] | 0
| Mach Shp | 0.5 | [6 empty] | When input complete hit: |  | 0
| Mach Tool | 0.3 | [8 empty] | 0
Heating | Largest | 1 | [8 empty] | 0
| Balance | 0.5 | [6 empty] | For conversion table hit: |  | 0
Computers |  | 0.8 | [8 empty] | 0
Receptacles |  | 0.1 | [8 empty] | 0
Panel Schedule Number >>> |  |  | 19 | 20 | 21 | 22 | 23 | 24
Lighting |  | 0.9 | [8 empty] | 0
Air Cond. | 1st unit | 1 | [8 empty] | 0
| 2-5 units | 0.8 | [8 empty] | 0
| >6 units | 0.7 | [8 empty] | 0
Motors | Continous | 0.9 | [8 empty] | 0
| Process | 0.8 | [8 empty] | 0
| Mach Shp | 0.5 | [8 empty] | 0
| Mach Tool | 0.3 | [8 empty] | 0
Heating | Largest | 1 | [8 empty] | 0
| Balance | 0.5 | [8 empty] | 0
Computers |  | 0.8 | [8 empty] | 0
Receptacles |  | 0.1 | [8 empty] | 0
Panel Schedule Number >>> |  |  | 25 | 26 | 27 | 28 | 29 | 30
Lighting |  | 0.9 | [8 empty] | 0 | 0
Air Cond. | 1st unit | 1 | [8 empty] | 0 | 0
| 2-5 units | 0.8 | [8 empty] | 0 | 0
| >6 units | 0.7 | [8 empty] | 0 | 0
Motors | Continous | 0.9 | [8 empty] | 0 | 0
| Process | 0.8 | [8 empty] | 0 | 0
| Mach Shp | 0.5 | [6 empty] | When input complete hit: |  | 0 | 0
| Mach Tool | 0.3 | [8 empty] | 0 | 0
Heating | Largest | 1 | [8 empty] | 0 | 0
| Balance | 0.5 | [6 empty] | For conversion table hit: |  | 0 | 0
Computers |  | 0.8 | [8 empty] | 0 | 0
Receptacles |  | 0.1 | [8 empty] | 0 | 0

## DemEstPS
DEMAND ESTIMATING WORKSHEET
JOB # | [11 empty] | N/A
0 | [11 empty] | 100amp
JOB LOCATION |  |  |  |  | JOB NAME |  |  |  |  | N/A |  | 200amp
SD | [9 empty] | 120/240 |  | 400amp
This worksheet allows planner to calculate kW demand for new customers. | [9 empty] | 120/208 |  | 600amp
The estimated demand is to be used for sizing transformers and services. | [9 empty] | 120/208 |  | 800amp
TRANSFORMER NO. |  | PANEL #1 | PANEL #2 | SERVING VOLTAGE |  | PHASE | WIRE | SUGGESTED XFMR SIZE |  | 277/480 |  | 1000amp
0 |  | N/A | N/A | N/A |  | N/A | 4 | N/A |  | 4 kV |  | 1200amp
kW/SQ.FT. | SQUARE FOOT DEMAND | [8 empty] | 12 kV |  | 1600amp
Selection | Building Square Footage |  |  | x | kW/Sq. Ft. |  | = | Demand |  |  |  | 1800amp
Type 1 | 0 |  |  | x |  | 0.004 | = | 0 | kW |  |  | 2000amp
Type 2 |  |  |  | x |  | 0.006 | = | 0 | kW | Lesser: | 0 | 2500amp
SQUARE FOOT DEMAND TOTAL>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>> | [7 empty] | 0 | kW |  |  | 3000amp
Type of | LOAD SCHEDULE DEMAND |  |  |  | Type of | LOAD SCHEDULE DEMAND |  |  |  | SFD, Lesser Logic | #DIV/0! | 4000amp
Load | Total Load x Dem. Factor |  | = Demand in KW |  | Load | Total Load x Dem. Factor |  | = Demand in KW |  |  |  | Pri. Meter
Lighting | 0 | 0.9 | 0 | kW | Mach Shop | 0 | 0.5 | 0 | kW | * | *
A/C | 0 | 1 | 0 | kW | Mach Tools | 0 | 0.3 | 0 | kW | N/A | N/A
A/C 2-5 | 0 | 0.8 | 0 | kW | Heating-lrg | 0 | 1 | 0 | kW | 120/240 | N/A
A/C 6 + | 0 | 0.7 | 0 | kW | Heating | 0 | 0.5 | 0 | kW | 120/208 | #DIV/0!
Motors | 0 | 0.9 | 0 | kW | Computers | 0 | 0.8 | 0 | kW | 277/480 | #DIV/0!
Elev/Procss | 0 | 0.8 | 0 | kW | Receptacles | 0 | 0.1 | 0 | kW | 4 kV | N/A
LOAD SCHEDULE DEMAND TOTAL >>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>> | [7 empty] | 0 | kW | 12 kV | N/A
LOAD DENSITY | [9 empty] | * | *
2
Building Usage Type 1 |  |  |  |  | Building Usage Type 2
[11 empty] | Building Type | KW/Sq Ft.
| Office > 40,000 sq. ft. (.004) |  |  |  |  | Office < 40,000 sq. ft. (.006) |  |  |  |  | * | *
[11 empty] | Bank (.006) | 0.006
[11 empty] | Bio-Medical (.016) | 0.016 |  | XFRMR Sizing Tables
[11 empty] | Church (.007) | 0.007
[11 empty] | Convenience Store (.012) | 0.012 | kW
[11 empty] | Department Store (.004) | 0.004 | 120/208 |  | kW
[11 empty] | Grocery Store (.009) | 0.009 | 0 | 45 kVA | 277/480
[11 empty] | Hospital (.007) | 0.007 | 49 | 75 kVA | 0 | 75 kVA
[11 empty] | Hotel / Motel (.004) | 0.004 | 85 | 150 kVA | 85 | 150 kVA
Super Data Book: |  | 0 | kW |  | High Cisco Demand: |  |  | 0 | kW |  | Light Commercial (.007) | 0.007 | 159 | 225 kVA | 157 | 225 kVA
[11 empty] | Manufacturing (.009) | 0.009 | 250 | 300 kVA | 281 | 300 kVA
Square Foot Demand (SFD) / Load Schedule Demand (LSD) = Comparison Ration (CR) | [10 empty] | Medical Office (.008) | 0.008 | 344 | 500 kVA | 370 | 500 kVA
If 0.8 < or = CR < or = 1.2 choose SFD as Estimated Demand. | [10 empty] | Office < 40,000 sq. ft. (.006) | 0.006 | 625 | 750 kVA | 591 | 750 kVA
If CR < 0.8 or CR > 1.2 choose the lesser of the two as Estimated Demand. | [10 empty] | Office > 40,000 sq. ft. (.004) | 0.004 | 938 | 1000 kVA | 938 | 1000 kVA
|  | COMPARISON RATIO = |  |  |  | #DIV/0! |  |  |  |  | Restaurant (Dining) (.014) | 0.014 | 1131 | N/A | 1250 | 1500 kVA
|  | Use: | #DIV/0! | kW as Estimated Demand | [6 empty] | Restaurant (Fast Food)(.022) | 0.022 |  |  | 1734 | 2000 kVA
[11 empty] | Retail Store (.005) | 0.005 |  |  | 2499 | 2500 kVA
CONTACT DISTRIBUTION STANDARDS IF BUILDING TYPE IS NOT IDENTIFIED. | [10 empty] | School (.005) | 0.005 |  |  | 3124 | 3000 kVA
[11 empty] | Warehousing (.005) | 0.005 |  |  | 3749 | N/A
Submitted by: |  |  |  |  | Approved by: | [5 empty] | N/A | 0
[11 empty] | * | *
Note on C28: Click in Cell & Select Building Type.
Note on H28: Click in Cell & Select Building Type.
Note on C12: Square Footage from "Basic Info" Screen.
Note on C13: Enter Building Square Footage for 2nd Building or 2nd Usage Type.
Note on E9: Click in cell & select panel size for panel #2, if applicable.

## DemEstSB
DEMAND ESTIMATING WORKSHEET (SHELL BUILDINGS)
JOB #
0
JOB LOCATION |  |  |  | JOB NAME
This worksheet allows planner to calculate kW demand for new customers.
The estimated demand is to be used for sizing transformers and services.
TRANSFORMER NO. |  | PANEL SIZE - AMPS | SERVING VOLTAGE |  | PHASE | WIRE | SUGGESTED XFMR SIZE
1 |  | N/A | N/A |  | N/A | 4 | N/A
kW/SQ.FT. | SQUARE FOOT DEMAND | [7 empty] | * | *
Selection | Enter Building Square Footage |  | x | kW/Sq. Ft. |  | = | Demand |  | N/A | N/A
Type 1 |  | 0 | x | 0.014 |  | = | 0 | kW | 120/240 | N/A
Type 2 |  |  | x | 0.006 |  | = | 0 | kW | 120/208 | #N/A
SQUARE FOOT DEMAND TOTAL>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>> | [6 empty] | 0 | kW | 277/480 | #N/A
[9 empty] | 4 kV | N/A
[9 empty] | 12 kV | N/A
TRANSFORMER NO. |  | PANEL SIZE - AMPS | SERVING VOLTAGE |  | PHASE | WIRE | SUGGESTED XFMR SIZE |  | * | *
2 |  |  | N/A |  | N/A | 4 | N/A |  | * | *
kW/SQ.FT. | SQUARE FOOT DEMAND | [7 empty] | N/A | N/A
Selection | Enter Building Square Footage |  | x | kW/Sq. Ft. |  | = | Demand |  | 120/240 | N/A
Type 3 |  | 0 | x | 0.007 |  | = | 0 | kW | 120/208 | #N/A
Type 4 |  |  | x | 0.012 |  | = | 0 | kW | 277/480 | #N/A
SQUARE FOOT DEMAND TOTAL>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>>> | [6 empty] | 0 | kW | 4 kV | N/A
LOAD DENSITY | [8 empty] | 12 kV | N/A
2 | [8 empty] | * | *
Building Usage Type 1 |  |  |  | Building Usage Type 2 | [5 empty] | Building Type | KW/Sq Ft.
[10 empty] | * | *
[10 empty] | Bank (.006) | 0.006
| Restaurant (Dining) (.014) |  |  |  | Office < 40,000 sq. ft. (.006) |  |  |  |  | Bio-Medical (.016) | 0.016 |  | XFRMR Sizing Tables
[10 empty] | Church (.007) | 0.007 | kW
[10 empty] | Convenience Store (.012) | 0.012 | 120/208 |  | kW
[10 empty] | Department Store (.004) | 0.004 |  | N/A | 277/480
[10 empty] | Grocery Store (.009) | 0.009 | 1 | 45 kVA |  | N/A
Building Usage Type 3 |  |  |  | Building Usage Type 4 | [5 empty] | Hospital (.007) | 0.007 | 49 | 75 kVA | 1 | 75 kVA
[10 empty] | Hotel / Motel (.004) | 0.004 | 85 | 150 kVA | 85 | 150 kVA
[10 empty] | Light Commercial (.007) | 0.007 | 159 | 225 kVA | 157 | 225 kVA
| Hospital (.007) |  |  |  | Convenience Store (.012) |  |  |  |  | Manufacturing (.009) | 0.009 | 250 | 300 kVA | 281 | 300 kVA
[10 empty] | Medical Office (.008) | 0.008 | 344 | 500 kVA | 370 | 500 kVA
[10 empty] | Office < 40,000 sq. ft. (.006) | 0.006 | 625 | 750 kVA | 591 | 750 kVA
[10 empty] | Office > 40,000 sq. ft. (.004) | 0.004 | 938 | 1000 kVA | 938 | 1000 kVA
[10 empty] | Restaurant (Dining) (.014) | 0.014 | 1131 | N/A | 1250 | 1500 kVA
CONTACT DISTRIBUTION STANDARDS IF BUILDING TYPE IS NOT IDENTIFIED. | [9 empty] | Restaurant (Fast Food)(.022) | 0.022 |  |  | 1734 | 2000 kVA
[10 empty] | Retail Store (.005) | 0.005 |  |  | 2499 | 2500 kVA
[10 empty] | School (.005) | 0.005 |  |  | 3124 | 3000 kVA
[10 empty] | Warehousing (.005) | 0.005 |  |  | 3749 | N/A
Submitted by: |  |  |  | Approved by: | [5 empty] | N/A | 0
Note on D12: Square Footage for Building Type One from Basic Info.
Note on D13: Enter Building Square Footage for Building Type Two, if Applicable.
Note on C30: Click in Cell & Select Building Type.
Note on H30: Click in Cell & Select Building Type.
Note on C38: Click in Cell & Select Correct Building Usage Type.
Note on H38: Click in Cell & Select Correct Building Usage Type.
Note on D18: Enter Panel Size for 2nd Panel, if Applicable.
Note on D21: Enter Square Footage for Building Type 3, if Applicable.
Note on D22: Enter Square Footage for Building Type 4, if Applicable.

## Conversion
Conversion Tables - Standard
277/480 volt Three-Phase table - .85PF
To Get>>>>>>>>>> | AMPS | kW | kVA | TonsA/C | HP | CONVERSION TABLE FOR:
Enter AMPS | [5 empty] | <<<<<< 277/480 - 3ph
Answer = |  | 0 | 0 | 0 | 0
Enter kW | [6 empty] | 0
Answer = | 0 |  | 0 | 0 | 0
Enter kVA
Answer = | 0 | 0 |  | 0 | 0
Enter Tons A/C | [5 empty] | Return to panel
Answer = | 0 | 0 | 0 |  | 0 | schedule input hit:
Enter Motor HP
Answer = | 0 | 0 | 0 | 0
120/208 volt Three-Phase table - .85PF
To Get>>>>>>>>>> | AMPS | kW | kVA | TonsA/C | HP | CONVERSION TABLE FOR:
Enter AMPS | [5 empty] | <<<<<< 120/208 - 3ph
Answer = |  | 0 | 0 | 0 | 0
Enter kW
Answer = | 0 |  | 0 | 0 | 0
Enter kVA
Answer = | 0 | 0 |  | 0 | 0
Enter Tons A/C | [5 empty] | Return to panel
Answer = | 0 | 0 | 0 |  | 0 | schedule input hit:
Enter Motor HP
Answer = | 0 | 0 | 0 | 0
120/240 volt Three-Phase table - .85PF
To Get>>>>>>>>>> | AMPS | kW | kVA | TonsA/C | HP | CONVERSION TABLE FOR:
Enter AMPS | [5 empty] | <<<<<< 120/240 - 3ph
Answer = |  | 0 | 0 | 0 | 0
Enter kW
Answer = | 0 |  | 0 | 0 | 0
Enter kVA
Answer = | 0 | 0 |  | 0 | 0
Enter Tons A/C | [5 empty] | Return to panel
Answer = | 0 | 0 | 0 |  | 0 | schedule input hit:
Enter Motor HP
Answer = | 0 | 0 | 0 | 0
120/240 volt Single-Phase table - .9PF
To Get>>>>>>>>>> | AMPS | kW | kVA | TonsA/C | HP | CONVERSION TABLE FOR:
Enter AMPS | [5 empty] | <<<<<< 120/240 - 1ph
Answer = |  | 0 | 0 | 0 | 0
Enter kW
Answer = | 0 |  | 0 | 0 | 0
Enter kVA
Answer = | 0 | 0 |  | 0 | 0
Enter Tons A/C | [5 empty] | Return to panel
Answer = | 0 | 0 | 0 |  | 0 | schedule input hit:
Enter Motor HP
Answer = | 0 | 0 | 0 | 0

## Forms
[8 empty] | Version 1.1 |  | FUSING REQUEST
[10 empty] | JOB # | 0 | [8 empty] | JOB # | 0
LOAD STUDY -- FUSING REQUEST -- DISTRIBUTION PLANNING WORKSHEET | [22 empty] | password is "demand"
GENERAL INFORMATION | [9 empty] | Neutral Source: |  | None |  |  | Boosted: | No |  |  |  |  | FUSE REQUEST | DISTRIBUTION PLANNING WORKSHEET
[6 empty] | IN-SERVICE DATE: |  | 0
SUPERCEDES LOAD STUDY DATED: |  |  |  | 0 |  | TODAY'S DATE: |  | 2019-03-13 |  | Load Balance Table
|  |  | Planner | [6 empty] | Fac # | Fuse Cabinet: |  | No | Largest XFMR | X | Y | Z | 3 | Total KVA
JOB # | 0 |  | Phone # |  |  |  | T.B. |  |  |  | CP/Fuse Cabinet Location | [6 empty] | Phase | Added
Project title | [9 empty] | N/A | 0 |  | Existing | 0 | 0 | 0 | 0 | 0 | 0
Address | [9 empty] | 0 | 0 |  | Adding | 0 | 0 | 0 | 0 | 0 | 0
Cross Street | [6 empty] | DFIS Pg # | 0 |  | N/A | 0 |  | Existing | 0 | 0 | 0 | 0 | 0 | 0
Type of project: |  |  |  | # of lots/units/meters |  | 0 | Sq. Ftg of Lots/Units |  | 0 | 0 | 0 |  | Adding | 0 | 0 | 0 | 0 | 0 | 0
Developer / Contact Name | [6 empty] | Phone # |  |  | N/A | 0 |  | Existing | 0 | 0 | 0 | 0 | 0 | 0
Substation | #N/A |  |  | Station # | 0 |  | Struct. ID# | 0 |  | 0 | 0 |  | Adding | 0 | 0 | 0 | 0 | 0 | 0
Circuit | 0 |  |  |  |  | Panel # 1 Size: |  | N/A |  | N/A | 0 |  | Existing | 0 | 0 | 0 | 0 | 0 | 0
Construction & Operations Center: | [5 empty] | Panel # 2 Size: |  | 0 | N/A | 0 | 0 |  | Adding | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | Fault Indicator Req'd: size |  | No | Size: | 0
LOAD STUDY REQUEST | [9 empty] | Cable Pole # |  |  |  | Existing fused @ |  | 0 | OK
[10 empty] | 0 |  |  |  | Change From: |  | 0 | to: | 0
EXISTING CUSTOMER LOAD: |  |  | None | [6 empty] | Install | 0 |  | Fused @ | 0
[10 empty] | fuse cab: | 0 |  |  | install: | 0 |  | change: | 0
DESCRIPTION OF LOAD | [7 empty] | kW DEMAND |  | fuse cab: | 0 |  |  | install: | 0 |  | change: | 0
0 | [7 empty] | 0 |  | fuse cab: | 0 |  |  | install: | 0 |  | change: | 0
0 | [7 empty] | 0 |  | Special Instructions: |  | 0
0 | [7 empty] | 0
0 | [7 empty] | 0
[10 empty] | Engineer Approval: |  | 0 |  |  |  | Date: . | 0
CUSTOMER LOAD BEING ADDED: |  |  |  | Estimated |  | Primary Voltage |  | 12 | kV | PLANNER COMMENTS: |  |  |  | SKETCH ATTACHED: |  | No
Proposed XFMR Sizes: |  | N/A | And | N/A |  |  | Secondary Voltage |  | N/A | 0
0
DESCRIPTION OF LOAD | [7 empty] | kW DEMAND |  | 0
0 | [7 empty] | 0 |  | 0
0 | [7 empty] | 0 |  | 0
0 | [7 empty] | 0
0 | [7 empty] | 0 |  | DISTRIBUTION PLANNING WORKSHEET
Load range from super data book |  |  | 0 | kW | High Demand from CISCO if available |  |  | 0 | kW
[10 empty] | Date Info Needed (Allow 5 Days): |  |  | 0 |  | Estimated In-Service Date: |  |  | 0
Motors: | No | Total Motor Load |  | 0 | HP Largest Motor |  | 0 | HP |  | SKETCH ATTACHED: |  | N/A
| 0 | starts per: | N/A |  | Power Factor: |  | 0 |  |  | PLANNER COMMENTS:
Motor Types : |  | N/A |  |  | Multiple Motors - Simultaneous Starts: |  |  |  | No | 0
DISTRIBUTION WORK FLOW & PLANNING:
[10 empty] | KEY: |  | * | Represents Future Switch |  |  | ATTACHED MAPS:
DWP Estimated Demand: |  |  | 0 | kW | [5 empty] | (INITAIL)/(ULTIMATE) |  |  | Represents Existing Switch
Limit inrush to: |  | 0 | kVA starts per: |  | 0 |  |  |  |  | (SEPARATE TRENCH)** |  | LD | Represents Local Distribution |  |  | N/A
REMARKS: | [11 empty] | FDR | Represents Feeder
0 | [12 empty] | Cable Example: 1000 = 1000KCMIL
**NOTE: FUTURE FACILITIES FOR CONSIDERATION ONLY- NO INSTALLATION REQUIRED AT THIS TIME
[10 empty] | DATE |  | DISTRIBUTION PLANNING ENGINEER |  |  |  |  | EXT
[10 empty] | 0 |  | 0 |  |  |  |  | 0
Tech. Senior Approval |  | 0 | Dist Plng Eng |  | 0 | Phone # | 0 | Date | 0